## electrics_list
TypeNo | Brand | OEMNo | NSNNo | Description | Stock | Unit | Image_Name | PCode | P2I | P3I | P4I
L1348C-B&L-RE | Belling & lee | L1348C |  | Fuseholder, REFURBISHED, panel mounting for 1-1/4 x 1/4" fuses | 17 | E |  | ELEC | FUSE | HOLD | X?
3PCO-10A-125DC-OF-33BQA6F-HART | Hart | 33BQA6F |  | Relay, 3 pole C-O 10 Amp @ 24VAC/28VDC Coil, 125Vdc contact rating, open-frame, solder terminals. | 8 | E |  | ELEC | REL | OF | 3PCO
16A-HRC-550V-Q1-F06-MEM | MEM | 16A-Q1-F06 |  | 16 Amp HRC fuse-link, Q1 off-set tags, 550Vac rated Type F06 | 1 | E |  | ELEC | FUSE | HRC | F06
4A-HRC-415V-Q1-NSD4A-DS | Dorman-Smith | NSD4A |  | 4 Amp HRC fuse-link, Q1 off-set tags, 415Vac rated Type F06 | 8 | E |  | ELEC | FUSE | HRC | F06
FC-X15-1533-SLYDLOK | Slydlok | 1533 |  | Fuse-Carrier (spare) 15A max rating for Slydlok X1533 series fuse-holder bodies. | 36 | E |  | ELEC | FUSE | HOLD
50~25A-250V-UPL111-1677-2-AIR | Airpax | UPL111-1677-2 |  | Minature circuit-breaker 3 pole normally closed, 2 stages @ 50 Amps + 1 stage @ 25 Amp, 240V 50~60Hz, delay "62+31" interlocked-toggle operator. | 3 | E |  | ELEC | CB
SUH31H09A-ALPS | Alps | SUH31H09A |  | Press switch, 3 button, 2 pole-single-throw, 2 x latching (2PST) + 1 x momentary in "U-frame" panel mounting bracket - all independant (non-interlock) | 5000 | E |  | ELEC | SW | PRESS | POLE
L1033-C4-B&L | Belling & lee | L1033/C4 |  | Fuseholder, panel mounting (rear-entry) for 1 pair Size "O" 1.25 x 0.25" (32mm x 6.35mm) glass or ceramic cartridge fuses. | 360 | E |  | ELEC | FUSE | HOLD | X?
2PCO-2A-48DC-PCB-NF248V-NAT | National | NF2-48V |  | 2 Pole Change Over Printed Circuit Board NF2-48V National | 3 |  |  | Elect
2PCO-1A-5VDC-PCB-FBR46ND005-P-FUJI | Fujitsu | FBR46ND005-P |  | 2 Pole Change Over Printed Circuit Board FBR46ND005-P Fujitsu | 24 |  |  | Elect
2PCO-1A-24VDC-PCB-FBR46ND024-P-FUJI | Fujitsu | FBR46ND024-P |  | 2 Pole Change Over Printed Circuit Board FBR46ND024-P Fujitsu | 38 |  |  | Elect
1PNO-0A5-12VDC-PCB-PRMA1A12-CPC | CP Clare | PRMA1A12 |  | 1 Pole Normally Open Reed Printed Circuit Board PRMA1A12 CP Clare | 50 |  | ELEC/REL/ | Elect
16A-HRC-550V-Q1-F06-BRUSH | Brush | 16A-Q1-F06 |  | 16 Amp HRC fuse-link, Q1 off-set tags, 550Vac rated Type F06 | 50 | E |  | ELEC | FUSE | HRC | F06
10A-HRC-550V-Q1-F06-BRUSH | Brush | 10A-Q1-F06 |  | 10 Amp HRC fuse-link, Q1 off-set tags, 550Vac rated Type F06 | 8 | E |  | ELEC | FUSE | HRC | F06
1PNC-xA-xV-DEL-TM06NC115-INTER | Intertechnique | TM06NC115 |  | 1 Pole Normally Closed Delay TM06NC115 Intertechnique | 5 |  |  | Elect
1PNO-1A-60V-1K-DEL-S1041K-STC | STC | S104/1K |  | 1 Pole Normally Open Delay S104/1K STC | 3 |  |  | Elect
3PNO-10A-125DC-OF-33BQA6F-!!! | !!! | 33BQA6F |  | 3 Poles Normally Open Open Frame 33BQA6F !!! | 1 |  |  | Elect
| Siemens | V23154-D0717-B110 |  | 4 Pole Change Over Socket V23154-D0717-B110 Siemens | 2 |  | ELEC/REL/SKT/640/ | Elect
4PCO-xA-xV-1K-SKT-30644452804-PED | PED | 30-644-452-804 |  | 4 Pole Change Over Socket 30-644-452-804 PED | 7 |  |  | Elect
1PNO-10A-24DC-SKT-KUEP3D1524-P&B | Potter & Brumfield | KUEP-3D15-24 |  | 1 Pole Normally Open Socket KUEP-3D15-24 Potter & Brumfield | 1 |  |  | Elect
1PCO-30A-12VDC-PCB-4RA00351008-HEL | Hella | 4RA 003 510-08 |  | 1 Pole Change Over Printed Circuit Board 4RA 003 510-08 Hella | 1 |  | ELEC/REL/PCB/640/ | Elect
xP-xA-xV-SKT-HE721A0510-HAM | Hamlin | HE721A0510 |  | x Pole Socket HE721A0510 Hamlin | 4 |  | ELEC/REL/SKT/640/ | Elect
3PCO-5A-24V-SKT-KUP14DEI24VDC-P&B | Potter & Brumfield | KUP14DEI-DC24V |  | 3 Pole Change Over Socket KUP14DEI-DC24V Potter & Brumfield | 1 |  | ELEC/REL/SKT/640/ | Elect
xP-xA-xV-PCB-971A51D-PICK | Pickering | 97-1-A-5/1D |  | x Pole Printed Circuit Board 97-1-A-5/1D Pickering | 2 |  | ELEC/REL/PCB/640/ | Elect
3PCO-10A-12VDC-SKT-KUP14A5612V-P&B | Potter & Brumfield | KUP14A56-12V |  | 3 Pole Change Over Socket KUP14A56-12V Potter & Brumfield | 3 |  | ELEC/REL/SKT/640/ | Elect
1PNO-3A-250AC-DEL-B2104501-EDISON | Edison | B2104-501 |  | 1 Pole Normally Open Delay B2104-501 Edison | 2 |  |  | Elect
3PCO-10A-24VDC-DEL-CH12W24DC-SPRE | Sprecher |  |  | 3 Pole Change Over Delay CH1-2W-24VDC + SOCKET Sprecher | 1 |  |  | Elect
1PNO-3A-250AC-DEL-26N05-AMP | Amperite | 26N05 |  | 1 Pole Normally Open Delay 26N05 Amperite | 1 |  |  | Elect
1PNO-3A-115AC-DEL-26N030-AMP | Amperite | 26N030 |  | 1 Pole Normally Open Delay 26N030 Amperite | 1 |  |  | Elect
4PCO-5A-24VDC-636R-SKT-MY4DC24V-OMR | Omron | MY4-DC24V |  | 4 Pole Change Over Socket MY4-DC24V Omron | 7 |  |  | Elect
1PCO-20A-24VDC-SKT-VC2O2ADC24V-MATS | Matsushita | VC2O-2A-DC24V |  | 1 Pole Change Over Socket VC2O-2A-DC24V Matsushita | 1 |  |  | Elect
4PCO-5A-24VDC-636R-SKT-MY4DC24V-OMR | Omron | MY4-DC24V + SOCKET |  | 4 Pole Change Over Socket MY4-DC24V + SOCKET Omron | 1 |  |  | Elect
2PCO-10A-24VDC-DEL-61312C4A2-MID | Midtex | 613-12C4A2 |  | 2 Pole Change Over Delay 613-12C4A2 Midtex | 5 |  |  | Elect
2PCO-10A-24VDC-DEL-61312C400-MID | Midtex | 613-12C400 |  | 2 Pole Change Over Delay 613-12C400 Midtex | 3 |  |  | Elect
1PNO-115AC-xV-DEL-TM10NO115-INTER | Intertechnique | TM10NO115 (71881) |  | 1 Pole Normally Closed Delay TM10NO115 (71881) Intertechnique | 4 |  |  | Elect
1PNC-3A-12VDC-DEL-12NO120T-AMP | Amperite | 12NO120T |  | 1 Pole Normally Closed Delay 12NO120T Amperite | 5 |  |  | Elect
1PNC-3A-26VDC-DEL-26NO180-AMP | Amperite | 26NO180 |  | 1 Pole Normally Closed Delay 26NO180 Amperite | 1 |  |  | Elect
1PNC-3A-6VDC-DEL-6NO2-AMP | Amperite | 6NO2 PULLED |  | 1 Pole Normally Closed Delay 6NO2 PULLED Amperite | 1 |  |  | Elect
3PCO-10A-24VDC-SKT-68R324DCSCO-SIG | Sigma | 68R3-24DC-SCO |  | 3 Pole Change Over Socket 68R3-24DC-SCO Sigma | 1 |  | ELEC/REL/DEL/640/ | Elect
3PCO-8~10A-24DC-TEC1270-TEC | TEC | TEC-1270 |  | 3 Pole Change Over Delay TEC-1270 TEC | 1 |  | ELEC/REL/DEL/640/ | Elect
1PNC-3A-230V-912521667SA-RMB | RMB Controls | 91252-1667SA |  | 1 Pole Normally Closed Delay 91252-1667SA RMB Controls | 3 |  |  | Elect
xP-xA-xV-912522611S-RMB | RMB Controls | 91252-2611S |  | x Pole Delay 91252-2611S RMB Controls | 2 |  | ELEC/REL/DEL/640/ | Elect
1PNC-3A-115V-912521667B-RMB | RMB Controls | 91252-1667B |  | 1 Pole Normally Closed Delay 91252-1667B RMB Controls | 4 |  |  | Elect
2PCO-10A-28VDC-DEL-KUP111528VDC-P&B | Potter & Brumfield | KUP11D15-28VDC |  | 2 Pole Change Over Delay KUP11D15-28VDC Potter & Brumfield | 2 |  |  | Elect
2PCO-10A-120VAC-DEL-CUA4171038-P&B | Potter & Brumfield | CUA-41-71038 |  | 2 Pole Change Over Delay CUA-41-71038 Potter & Brumfield | 1 |  |  | Elect
2PCO-10A-120VAC-DEL-CLA4170005-P&B | Potter & Brumfield | CLA-41-70005 |  | 2 Pole Change Over Delay CLA-41-70005 Potter & Brumfield | 1 |  |  | Elect
2PCO-12A-6VDC-DEL-68R26DCSCO-SIG | Sigma | 68R2-6DC-SCO |  | 2 Pole Change Over Delay 68R2-6DC-SCO Sigma | 1 |  | ELEC/REL/DEL/640/ | Elect
2PCO-10A-220AC-DEL-KUL14A15S220-P&B | Potter & Brumfield | KUL14A15S/220 |  | 2 Pole Change Over Delay KUL14A15S/220 Potter & Brumfield | 6 |  | ELEC/REL/DEL/640/ | Elect
3PCO-5A-36VDC-DEL-KUP14D1136VDC-P&B | Potter & Brumfield | KUP14D11-36VDC |  | 3 Pole Change Over Delay KUP14D11-36VDC Potter & Brumfield | 2 |  | ELEC/REL/DEL/640/ | Elect
3PCO-10A-48VDC-SKT-2277752-!!! | !!! | 2277752 |  | 3 Pole Change Over Socket 2277752 !!! | 1 |  | ELEC/REL/DEL/640/ | Elect
3PCO-20A-24VDC-OF-93X324VDC-MAGNE | Magnecraft | 93X-3 24VDC |  | 3 Pole Change Over Open Frame 93X-3 24VDC Magnecraft | 2 |  |  | Elect
3PCO-5A-240VAC-OF-KA14AY-PB | Potter & Brumfield | KA14AY-240VAC |  | 3 Pole Change Over Open Frame KA14AY-240VAC Potter & Brumfield | 28 |  |  | Elect
3PCO-10A-24VDC-SKT-MK3P5DC24V-OMR | Omron | MK3P-5 DC24V |  | 3 Pole Change Over Socket MK3P-5 DC24V Omron | 3 |  |  | Elect
| Potter & Brumfield | KUR11D15-24VDC |  | 2 Pole Change Over Delay KUR11D15-24VDC Potter & Brumfield | 1 |  |  | Elect
| Potter & Brumfield | KUR11D15S-24VDC |  | 2 Pole Change Over Delay KUR11D15S-24VDC Potter & Brumfield | 2 |  | ELEC/REL/SKT/640/ | Elect
xP-xA-xV-PCB-483E121AHG-ASTR | Astralux | 483E-12-1AHG |  | x Pole Printed Circuit Board 483E-12-1AHG Astralux | 3 |  | ELEC/REL/PCB/640/ | Elect
2PCO-5A-250VAC-SKT-HC2250VAC-MATS | Matsushita | HC2-250VAC |  | 2 Pole Change Over Socket HC2-250VAC Matsushita | 1 |  | ELEC/REL/SKT/640/ | Elect
1PCO-2A-10KR-DEL-PW5LS-MATS | Matsushita | PW5LS |  | 1 Pole Change Over Delay PW5LS Matsushita | 7 |  |  | Elect
2PNO-25A-24VDC-SKT-G7L2ATUBJ-OMR | Omron | G7L-2A-TUBJ |  | 2 Pole Normally Open Socket G7L-2A-TUBJ Omron | 1 |  |  | Elect
1PCO-5A-24VDC-PCB-KU1TB-KAM | KAM | KU1T-B 24VDC |  | 1 Pole Change Over Printed Circuit Board KU1T-B 24VDC KAM | 2 |  | ELEC/REL/PCB/640/ | Elect
12P-xA-xV-SKT-S46021-BLP | BLP Dialight | S46021 |  | 12 Pole Base S46021 BLP Dialight | 11 |  |  | Elect
2PCO-1A-18VDC-PCB-71218-TELE | Teledyne | 712-18 |  | 2 Pole Change Over Printed Circuit Board 712-18 Teledyne | 2 |  |  | Elect
2PCO-30A-24VDC-SKT-JH1ADC24-MATS | Matsushita | JH1A-DC24V |  | 2 Pole Change Over Socket JH1A-DC24V Matsushita | 3 |  |  | Elect
2PCO-5A-24VDC-SKT-MY2DC24V1S-OMR | Omron | MY2-DC24V1S |  | 2 Pole Change Over Socket MY2-DC24V1S Omron | 1 |  |  | Elect
| Omron | MY4N-DC24V |  | 4 Pole Change Over Socket MY4N-DC24V Omron | 1 |  |  | Elect
4PNO-xA-xV-PCB-203400-TRI | Triridge | 203-400 |  | 4 Pole Normally Open Reed 203-400 Triridge | 1 |  |  | Elect
4PCO-5A-24VDC-636R-SKT-MY4DC24V-OMR | Omron | MY4-DC24V PULLED |  | 4 Pole Change Over Socket MY4-DC24V PULLED Omron | 2 |  |  | Elect
4PCO-12VDC-SKT-AZ42110111HG-ZET | Zettler | AZ421-1011-1HG |  | 4 Pole Change Over Socket AZ421-1011-1HG Zettler | 1 |  | ELEC/REL/SKT/640/ | Elect
2PNO-30A-24VDC-SKT-G5D11423TUS-OMR | Omron | G5D11423TUS |  | 2 Pole Normally Open Socket G5D11423TUS Omron | 2 |  | ELEC/REL/SKT/640/ | Elect
2PCO-10A-240VAC-SKT-CH12W-SPRE | Sprecher |  |  | 3 Pole Normally Open Socket CH1-2W-240VAC50/60HZ-M Sprecher | 2 |  | ELEC/REL/SKT/640/ | Elect
1PCO-10A-250V-SKT-6012-FIN | Finder | 6012 |  | 1 Pole Change Over Socket 6012 Finder | 1 |  | ELEC/REL/SKT/640/ | Elect
4PCO-10A-24VDC-SKT-LY4DC24V-OMR | Omron | LY4-24VDC + SOCKET |  | 4 Pole Change Over Socket LY4-24VDC + SOCKET Omron | 1 |  |  | Elect
2PCO-10A-240VAC-HS-AB41772-P&B | Potter & Brumfield | AB4177-2 |  | 2 Pole Change Over Hermetic Sealed AB4177-2 Potter & Brumfield | 1 |  | ELEC/REL/HS/640/ | Elect
2PCO-2A-24VDC-PCB-NF224VDC-MATS | Matsushita | NF2-24VDC |  | 2 Pole Change Over Printed Circuit Board NF2-24VDC Matsushita | 2 |  |  | Elect
2PCO-10A-24VDC-SKT-LY2N-OMR | Omron | LY2N-24VDC |  | 2 Pole Change Over Socket LY2N-24VDC Omron | 5 |  |  | Elect
| Omron | G2R2-SN-24VDC |  | 2 Pole Change Over Printed Circuit Board G2R2-SN-24VDC Omron | 2 |  |  | Elect
2PCO-8A-250V-PCB-4052-FIN | Finder | 40.52 |  | 2 Pole Change Over Printed Circuit Board 40.52 Finder | 1 |  | ELEC/REL/PCB/640/ | Elect
2PCO-16A-250V-PCB-4061 | Finder | 40.61 |  | 2 Pole Change Over Printed Circuit Board 40.61 Finder | 1 |  | ELEC/REL/PCB/640/ | Elect
1PCO-15A-240VAC-SKT-LY1N-OMRON | Omron | LY1N-220/240VAC |  | 2 Pole Change Over Socket LY1N-220/240VAC Omron | 2 |  |  | Elect
4PCO-3A-24VDC-HS-KH54262-P&B | Potter & Brumfield | KH/5426/2 |  | 4 Pole Change Over Hermetic Sealed KH/5426/2 Potter & Brumfield | 2 |  |  | Elect
1PCO-XA-XVDC-HS-HFW1103D00-CPC | CP Clare |  |  | 1 Pole Change Over Hermetic Sealed HFW1103D00 (Tyco 1617533-1) CP Clare | 1 |  | ELEC/REL/HS/640/ | Elect
| Omron | LY3-US-48VDC |  | 3 Pole Change Over Socket LY3-US-48VDC Omron | 4 |  |  | Elect
1PCO-5A-26VDC-2KR-HS-41126-TELE | Teledyne | 411-26 |  | 1 Pole Change Over Hermetic Sealed 411-26 Teledyne | 6 |  | ELEC/REL/HS/640/ | Elect
2PCO-xA-48VDC-SKT-X-EMAIL | Email | 2PCO-48VDC |  | 2 Pole Change Over Socket 2PCO-48VDC Email | 5 |  |  | Elect
2PCO-12A-24VDC-SKT-5632-FIN | Finder | 56.32.9.024.0070 |  | 2 Pole Change Over Socket 56.32.9.024.0070 Finder | 7 |  | ELEC/REL/SKT/640/ | Elect
2PCO-10A-240VAC-SKT-LY2N-OMR | Omron | LY2N-220/240VAC |  | 2 Pole Change Over Socket LY2N-220/240VAC Omron | 1 |  |  | Elect
2PCO-2A-24VDC-SKT-14850232740-PED | PED | 14-850-232-740 |  | 2 Pole Change Over Socket 14-850-232-740 PED | 26 |  |  | Elect
1PCO-xA-6DC-180R-PCB-GP1A06P-HAT | Hathaway | GP1A06P |  | 1 Pole Change Over Printed Circuit Board GP1A06P Hathaway | 3 |  |  | Elect
1PCO-xA-5VDC-140R-PCB-MRYUIAI00-STR | Struthers-Dunn | MRYUIAI00 |  | 1 Pole Change Over Printed Circuit Board MRYUIAI00 Struthers-Dunn | 9 |  |  | Elect
1PCO-xA-xV-PCB-20600004-TRI | Triridge | 206-00004 (TAB2-224) |  | 1 Pole Change Over Reed 206-00004 (TAB2-224) Triridge | 5 |  | ELEC/REL/REED/640/ | Elect
2PCO-xA-24VDC-SKT-MD | Magnetic Devices | N/A |  | 2 Pole Change Over Socket N/A Magnetic Devices | 8 |  | ELEC/REL/SKT/640/ | Elect
1PCO-xA-5VDC-1KR-PCB-349355-RS | RS | 349-355 |  | 1 Pole Change Over Printed Circuit Board 349-355 RS | 5 |  | ELEC/REL/PCB/640/ | Elect
3PCO-10A-24DC-SKT-6013-IMO | IMO | 6013 IMO |  | 3 Pole Change Over Socket 6013 IMO IMO | 9 |  |  | Elect
| !!! |  |  | 1 Pole Change Over Hermetic Sealed 507/1/02440/014 (PLY7121) !!! | 1 |  |  | Elect
1PCO-xA-28DC-HS-P1018G-HART | Hart | P1-018G |  | 1 Pole Change Over Hermetic Sealed P1-018G Hart | 2 |  |  | Elect
xP-xA-xV-PCB-V23027A0002A101-SIE | Siemens | V23027-A0002-A101 |  | x Pole Printed Circuit Board V23027-A0002-A101 Siemens | 21 |  |  | Elect
4PCO-xA-6V-PCB-A26456V-ITT | ITT | A2645-6V |  | 4 Pole Change Over Printed Circuit Board A2645-6V ITT | 5 |  | ELEC/REL/PCB/640/ | Elect
4PCO-xA-12VDC-PCB-A260012V-ITT | ITT | A2600-12V |  | 4 Pole Change Over Printed Circuit Board A2600-12V ITT | 6 |  | ELEC/REL/PCB/640/ | Elect
| Omron |  |  | 2 Pole Change Over Socket LY2N-220/240VAC + SOCKET Omron | 2 |  |  | Elect
4PCO-1A-250DC-10KR-HS-3074201-HUFCO | Hufco | 30742-01 |  | 4 Pole Change Over Hermetic Sealed 30742-01 Hufco | 7 |  |  | Elect
1PCO-XA-XVDC-SKT-HGS1006-CPC | CP Clare | HGS1006 |  | 1 Pole Change Over Socket HGS1006 CP Clare | 1 |  |  | Elect
3PCO-XA-XVDC-SKT-HG3A1004-CPC | CP Clare | HG3A1004 |  | 2 Pole Change Over Socket HG3A1004 CP Clare | 4 |  |  | Elect
2PCO-XA-XVDC-2KR-SKT-42RJ-93163-SIG | Sigma | 42RJ93163 |  | 2 Pole Change Over Socket 42RJ93163 Sigma | 1 |  | ELEC/REL/SKT/640/ | Elect
2PCO-XA-XVDC-SKT-72AOZ4000TS-SIG | Sigma | 72AOZ-4000TS-TCP |  | 2 Pole Change Over Socket 72AOZ-4000TS-TCP Sigma | 1 |  | ELEC/REL/SKT/640/ | Elect
6PCO-xA-26V5-HS-FC6PB-STRU | Struthers-Dunn | FC-6-PB |  | 6 Pole Change Over Hermetic Sealed FC-6-PB Struthers-Dunn | 3 |  |  | Elect
2PCO-25A-24VDC-HS-W97CSX2-MAGNE | Magnecraft | W97CSX-2 |  | 2 Pole Change Over Hermetic Sealed W97CSX-2 Magnecraft | 1 |  |  | Elect
| Omron | LY4N24VDC |  | 4 Pole Change Over Socket LY4N24VDC Omron | 4 |  |  | Elect
2PCO-xA-24VDC-650R-SKT-LY224VDC-OMR | Omron | LY2-24VDC |  | 2 Pole Change Over Socket LY2-24VDC Omron | 4 |  |  | Elect
4PCO-7A-230VAC-SKT-533482300040-FIN | Finder |  |  | 4 Pole Change Over Socket 55.34.8.230.0040 + SOCKET 94.64 Finder | 3 |  | ELEC/REL/SKT/640/ | Elect
| Omron |  |  | 2 Pole Change Over Socket MY2-220/240VAC + SOCKET Omron | 3 |  |  | Elect
4PDT-25A-20V-SKT-PMT17DY20-P&B | Potter & Brumfield | PMT17DY20 |  | Socket PMT17DY20 Potter & Brumfield | 4 |  | ELEC/REL/SKT/640/ | Elect
1PCO-5A-24VDC-PCB-MR3124D-NEC | NEC | MR31-24D |  | 1 Pole Change Over Printed Circuit Board MR31-24D NEC | 196 |  |  | Elect
| Matsushita |  |  | 2 Pole Change Over Hermetic Sealed HC2-H-AC240V + SOCKET 1271W2 Matsushita | 13 |  |  | Elect
2PCO-3A-48VDC-PCB-MR6248S-NEC | NEC | MR62-48S |  | 2 Pole Change Over Printed Circuit Board MR62-48S NEC | 14 |  | ELEC/REL/PCB/640/ | Elect
1PCO-xA-xV-140R-HS-N22242A3-SIE | Siemens | N22242A3 |  | 1 Pole Change Over Hermetic Sealed N22242A3 Siemens | 12 |  |  | Elect
1PCO-xA-24VDC-PCB-G7L2ABUBJDC24-OMR | Omron | G7L-2A-BUBJ-DC24 |  | 1 Pole Change Over Printed Circuit Board G7L-2A-BUBJ-DC24 Omron | 2 |  |  | Elect
| CP Clare |  |  | 2 Pole Change Over Hermetic Sealed HFW1201K10 (Tyco 1617031-1) CP Clare | 2 |  |  | Elect
2PCO-xA-24VDC-HS-2G4773-HI-G | HI-G | 2G-4773 24VDC |  | 2 Pole Change Over Hermetic Sealed 2G-4773 24VDC HI-G | 9 |  |  | Elect
| Datron | 68GB5N-4-A-552 |  | 2 Pole Normally Closed Hermetic Sealed 68GB5N-4-A-552 Datron | 4 |  |  | Elect
| Zettler | AZ942-1CT-12DE |  | 1 Pole Change Over Printed Circuit Board AZ942-1CT-12DE Zettler | 11 |  | ELEC/REL/PCB/640/ | Elect
2PCO-2A-26V5-675R-HS-RP7641G41-CPC | CP Clare | RP7641G41 |  | 2 Pole Change Over Hermetic Sealed RP7641G41 CP Clare | 4 |  |  | Elect
2PCO-xA-24V-670R-HS-PC6551714-NS | NS | PC65517-14 |  | 2 Pole Change Over Hermetic Sealed PC65517-14 NS | 3 |  |  | Elect
3PNO-xA-xV-OF-PC649126-MARC | Marconi | PC64912-6 |  | 3 Pole Normally Open Open Frame PC64912-6 Marconi | 4 |  |  | Elect
4PCO-XA-48VDC-2K3R-SKT-MQ4081-TAKA | Takamisawa | MQ-408-1 |  | 4 Pole Change Over Socket MQ-408-1 Takamisawa | 35 |  |  | Elect
1P-xA-12V-370R-PCB-101AAH-ITT | ITT | 101AAH |  | Printed Circuit Board 101AAH ITT | 8 |  | ELEC/REL/PCB/640/ | Elect
2P-xP-xA-xV-SKT-V23154M0726B104-SIE | Siemens | V23154-M0726-B104 |  | 2 Pole Normally Closed Socket V23154-M0726-B104 Siemens | 7 |  | ELEC/REL/SKT/640/ | Elect
2PNO-25A-220VAC-OF-8BXX146-STRU | Struthers-Dunn | 8BXX146 |  | 2 Pole Normally Open Open Frame 8BXX146 Struthers-Dunn | 1 |  |  | Elect
4PCO-2A-24VDC-600R-SKT-MQ3082-TAKA | Takamisawa | MQ-308-1 |  | 4 Pole Change Over Socket MQ-308-1 Takamisawa | 16 |  |  | Elect
2PNO-5A-12VDC-SKT-JZC7FF0121ZT | !!! | JZC-7FF-012-1ZT |  | 2 Pole Normally Open Socket JZC-7FF-012-1ZT !!! | 10 |  | ELEC/REL/SKT/640/ | Elect
2PCO-1A-26VDC-PCB-71226-TELE | Teledyne | 712-26 |  | 2 Pole Change Over Printed Circuit Board 712-26 Teledyne | 3 |  | ELEC/REL/PCB/640/ | Elect
2PCO-XA-12VDC-390R-PCB-71212-TELE | Teledyne | 712-12 |  | 2 Pole Change Over Printed Circuit Board 712-12 Teledyne | 11 |  |  | Elect
2PCO-5A-6VDC-PCB-FBR621D006-FUJI | Fujitsu | FBR621D006 |  | 2 Pole Change Over Printed Circuit Board FBR621D006 Fujitsu | 155 |  |  | Elect
2PCO-5A-24V-PCB-FBR621ND024-FUJ | Fujitsu | FBR611ND024 |  | 2 Pole Change Over Printed Circuit Board - sealed FBR621ND024 Fujitsu in black plastic moulding | 133 |  |  | ELEC | REL | PCB | 2PCO
2PCO-5A-220VAC-150R-DEL-1264-OMR | Omron |  |  | 2 Pole Change Over Delay ATSS TIMER 220 VAC (LOT 1264) Omron | 1 |  |  | Elect
| Omron | G6AK274PSTUS-5VDC |  | 2 Pole Change Over Printed Circuit Board G6AK274PSTUS-5VDC Omron | 193 |  |  | Elect
| Fujitsu | FBR512ND12 |  | 1 Pole Change Over Printed Circuit Board FBR512ND12 Fujitsu | 97 |  |  | Elect
1PNO-xA-5VDC-PCB-PLA140-CPC | CP Clare | PLA140 |  | 1 Pole Normally Open Printed Circuit Board PLA140 CP Clare | 648 |  |  | Elect
4PCO-300mA-24VDC-560R-HS-TS4743-P&B | Potter & Brumfield | TS-4743 |  | 4 Pole Change Over Hermetic Sealed TS-4743 Potter & Brumfield | 10 |  |  | Elect
xP-xA-xV-SKT-G3PA220BK-OMR | Omron | G3PA-220BK |  | x Pole Socket G3PA-220BK Omron | 1 |  | ELEC/REL/SKT/640/ | Elect
2PCO-8A-24VDC-SKT-700HK32Z24-AB | Allen Bradley |  |  | 2 Pole Change Over Socket 700HK32Z24 (+ SOCKET 700-HN122 SER A) Allen Bradley | 7 |  |  | Elect
xP-xA-xV-PCB-121A3-AX | Astralux | 121A3 |  | x Pole Printed Circuit Board 121A3 Astralux | 24 |  |  | Elect
1PNO-500MA-28VDC-PCB-JWS117-1-P&B | Potter & Brumfield | JWS117-1 |  | 1 Pole Normally Open Printed Circuit Board JWS117-1 Potter & Brumfield | 36 |  | ELEC/REL/PCB/640/ | Elect
2PCO-2A-5VDC-125R-PCB-DS2ES5VDC-ARO | Aromat | DS2E-S-DC5 |  | 2 Pole Change Over Printed Circuit Board DS2E-S-DC5 Aromat | 106 |  |  | Elect
2PCO-2A-5VDC-PCB-MR825USR-NEC | NEC | MR82-5USR |  | 2 Pole Change Over Printed Circuit Board MR82-5USR NEC | 10 |  | ELEC/REL/PCB/640/ | Elect
4PCO-xA-26VDC-HS-M57577-COMINST | Com Instruments |  |  | 4 Pole Change Over Hermetic Sealed RD4CB2600 Tyco M5757/7-003 Tyco 1617048-3 Com Instruments | 2 |  |  | Elect
2PCO-120MA-350V-35R-PCB-LBA110-CPC | CP Clare | LBA110 |  | 2 Pole Change Over Printed Circuit Board LBA110 CP Clare | 100 |  |  | Elect
2PCO-xA-48V-2k5-SKT-U2CAS-UNIROSS | Uniross | U2CAS/48/2500 |  | 2 Pole Change Over Socket U2CAS/48/2500 Uniross | 72 |  |  | Elect
xP-xA-xV-PCB-LA56537-SAN | Sanyo | LA56537 |  | x Pole Printed Circuit Board LA56537 Sanyo | 9 |  | ELEC/REL/PCB/640/ | Elect
1PCO-xA-24Vdc-27R-HS-TS217801-NS | NS | TS21780-1 |  | 1 Pole Change Over Hermetic Sealed TS21780-1 NS | 6 |  |  | Elect
| Siemens | V23154-D0721-B110 |  | 4 Pole Change Over Socket V23154-D0721-B110 Siemens | 10 |  |  | Elect
| Siemens | V23154-D0722-B110 |  | 4 Pole Change Over Socket V23154-D0722-B110 Siemens | 10 |  |  | Elect
xP-xA-xV-PCB-135C4-ASTR | Astralux | 135C4 |  | x Pole Printed Circuit Board 135C4 Astralux | 8 |  | ELEC/REL/PCB/640/ | Elect
2PCO-xA-xV-700R-SKT-GPR302-PYE | Pye | GPR302 |  | 2 Pole Change Over Socket GPR302 Pye | 66 |  |  | Elect
xP-xA-xV-SKT-30Q02340061-PYE | Pye | 30-Q02-340-061 |  | x Pole Socket 30-Q02-340-061 Pye | 95 |  |  | Elect
1PNO-xA-12VDC-AX-MRD115-OKI | Oki | MRD-115 |  | 1 Pole Change Over Reed MRD-115 Oki | 23 |  |  | Elect
1PNO-xA-xV-PCB-483E121AHG-AX | Astralux | 483E-12-1AHG |  | 1 Pole Normally Open Printed Circuit Board 483E-12-1AHG Astralux | 63 |  | ELEC/REL/PCB/640/ | Elect
4PCO-xA-48VDC-PCB-A2630-ITT | ITT | A2630-48V |  | 4 Pole Change Over Printed Circuit Board A2630-48V ITT | 50 |  | ELEC/REL/PCB/640/ | Elect
| ERG |  |  | 1 Pole Change Over Reed AB1652-1LCH/G-12V (900R) ERG | 90 |  |  | Elect
1PCO-xA-xV-HS-RP7633G31-CPC | CP Clare | RP7633-G31 |  | 1 Pole Change Over Hermetic Sealed RP7633-G31 CP Clare | 22 |  |  | Elect
2PCO-2A-26V5-675R-HS-RP7631G12-CPC | CP Clare |  |  | 2 Pole Change Over Hermetic Sealed 2 Amp 26.5 Volts RP7631-G12 (Tyco 9-161-7342-1) CP Clare | 1 |  |  | Elect
| Portland | 79GBOR-1-A-6007 |  | 2 Pole Change Over Hermetic Sealed 2 Amp 26.5 Volts 79GBOR-1-A-6007 Portland | 2 |  |  | Elect
| Siemens | V23154-C0721-B104 |  | 2 Pole Change Over Socket V23154-C0721-B104 Siemens | 4 |  |  | Elect
1P-xA-xV-PCB-352224356300-PHI | Philips | 3522-243-56300 |  | x Pole Printed Circuit Board 3522-243-56300 Philips | 28 |  |  | Elect
1PNO-1A-12VDC-PCB-LDI1M12-OKITA | Okita | LDI-1M-12 |  | 1 Pole Normally Open Printed Circuit Board 1 Amp 12 Volt DC LDI-1M-12 Okita | 200 |  |  | Elect
4PCO-xA-4VDC-PCB-A2644-ITT | ITT | A2644-4V |  | 4 Pole Change Over Printed Circuit Board A2644-4V ITT | 417 |  |  | Elect
1PCO-xA-xV-PCB-20600003-TRIRIDGE | Triridge | 206-000-03 |  | 1Pole Change Over Reed 206-000-03 Triridge | 10 |  |  | Elect
xP-xA-xV-HS-HFW1201K10-CPC | CP Clare | HFW1201K10 |  | x Pole Hermetic Sealed HFW1201K10 CP Clare | 1 |  |  | Elect
xP-xA-xV-HS-HFW1201K10-COMINST | Com Instruments | HFW1201K10 |  | x Pole Hermetic Sealed HFW1201K10 Com Instruments | 5 |  |  | Elect
1PCO-xA-xV-PCB-20600001-TRIRIDGE | Triridge | 206-000-01 |  | 1 Pole Change Over Reed 206-000-01 Triridge | 5 |  |  | Elect
1PCO-xA-xV-PCB-20600005-TRIRIDGE | Triridge | 206-000-05 |  | 1 Pole Change Over Reed 206-000-05 Triridge | 3 |  |  | Elect
2PCO-xA-xV-2K5R-SKT-30642252884-PED | PED | 30-642-252-884 |  | 2 Pole Change Over Socket x Amp 30-642-252-884 PED | 83 |  |  | Elect
| CP Clare | A94401-AK11939 |  | 4 Pole Change Over Open Frame A94401-AK11939 CP Clare | 9 |  |  | Elect
4PCO-3A-24V-SKT-KHU17D12-P&B | Potter & Brumfield | KHU17D12-24VDC |  | 4 Pole Change Over Socket 3 Amp 24 Volts DC KHU17D12-24VDC Potter & Brumfield | 70 |  |  | Elect
12P-xA-xV-V23154Z1002-SIE | Siemens |  |  | 12 Pole Base V23154-Z1002 (Tyco 9-1393809-1) Siemens | 920 |  |  | Elect
2PCO-10A-200VAC-OF-PCM20224-YAS | Yasuda | PCM-2022-4 |  | 2 Pole Change Over Open Frame 10 Amp 200 Volts AC PCM-2022-4 Yasuda | 10 |  |  | Elect
6PCO-xA-12VDC-PCB-A2810-ITT | ITT | A2810-12V |  | 6 Pole Change Over Printed Circuit Board x Amp 12 Volt DC A2810-12V ITT | 10 |  |  | Elect
1PCO-CO-3A-250VAC-CH | Cutler-Hamer | 7801K1x |  | Toggle Switch CENTRE-OFF 1PDT, 3A @ 250VAC 15/32" (11.9mm) fixing hole | 11 | E |  | ELEC | SW | TOG | 2PCO
4PCO-2A-12VDC-SKT-R10E1Y4J10K-P&B |  |  |  | 4 Pole Change Over Socket 2 Amp 12 Volt DC R10-E1Y4J1.0K (Tyco 7-1393769-7) Potter & Brumfield
4PCO-2A-12VDC-SKT-R10E1Y4J10K-P&B | Potter & Brumfield |  |  | 4 Pole Change Over Socket 2 Amp 12 Volt DC R10-E1Y4J1.0K (Tyco 7-1393769-7) Potter & Brumfield | 45 |  |  | Elect
4PCO-2A-12VDC-SKT-R10E1Y4J10K-P&B | Potter & Brumfield |  |  | 4 Pole Change Over Socket 2 Amp 12 Volt DC R10-E1Y4J1.0K (Tyco 7-1393769-7) Potter & Brumfield | 45 |  |  | Elect
1PCO-xA-5VDC-PCB-DRL5VH4-SDS | SDS | DRL-5V-H4 |  | 1 Pole Change Over Printed Circuit Board x Amp 5 Volts DC DRL-5V-H4 SDS | 5000 |  |  | Elect
| Siemens | V23154-C0715-B104 |  | 2 Pole Change Over Socket 2 Amp 9 Volts DC V23154-C0715-B104 Siemens | 575 |  |  | Elect
2P-3W-BBM-25MM | Cutler-Hamer | ??? |  | Rotary Switch, 2 Pole x 3 Possition Break-Before-Make contacts 25mm OD with 1/4" Shaft | 4 | E |  | ELEC | SW | ROT | XPMB
4PCO-2A-12VDC- R10E1Y4J10K | Potter & Brumfield | R10-E1Y4-J1.0K |  | Miniature 4p C/O 2A @28Vdc Panel/Plug-in Relay 13,0mAdc (coil-current) 12~48Vdc (1k0) 7.5A 28Vdc~120Vac | 45 | E |  | ELEC | REL | SKT | 4PCO
2PCO-2A-9VDC-110R-V23154 | Siemens | V23154-C0715-B104 |  | Miniature 2p C/O 2A Coil 9Vdc Panel/Plug-in Relay xmAdc (coil-current) xxVdc (xkx Ohms) | 300 | E |  | ELEC | REL | SKT | 2PCO
2PCO-2A-9VDC-110R-V23154 | Siemens | V23154-C0715-B104 |  | Miniature 2p C/O 2A Coil 9Vdc Panel/Plug-in Relay xmAdc (coil-current) xxVdc (xkx Ohms) | 300 | E |  | ELEC | REL | SKT | 2PCO
AST-250KG-LOADCELL-PT | PT | AST-250KG |  | Loadcell, "S-Type" 250kg, 5~12V excitation, 1.998mV/V, IP67 - tapped M8x1.25 | 2 | E |  | ELEC | SENS | LC | NA
150NF-M-2A45-AX-4415-1-JEFF | Jeffers Electronics | 4415-1M |  | 150nH 20% 25MHz 50Q-Factor Phenolic 2.45A Axial inductor to MS18130-1 | 1916 | E |  | ELEC | IND | X?
TS-6+1(T27) |  |  |  | Solder Terminal / Tag Strips - 6 + 1 Earth - Bulgin T27 | 100 | E |  | ELEC | TS | TAG
TS-3+2(T21) |  |  |  | Solder Terminal / Tag Strips - 3 + 2 Earth - Bulgin T21 | 100 | E |  | ELEC | TS | TAG
TS-2+1(T17) |  |  |  | Solder Terminal / Tag Strips - 2 + Earth - Bulgin T17 | 200 | E |  | ELEC | TS | TAG
CAT-60?3P-60A(PDL) | PDL |  |  | Switch 3 Phase 60 Amps @ 440VAC - PDL | 40 | E |  | ELEC | SW | 3PH
V3-343-DB | MicroSwitch |  |  | Switch "Micro" SPDT 1A @ 125VAC |  | E |  | ELEC | SW | MIC
V23027-A0002-A101 | Seimens |  |  | Relay Low Profile PCB, 12VDC, SPC-O | 450 | E |  | ELEC | SW | REL
TSW-3A250VAC-2PCO | Arcolectric | A11131121000 |  | Toggle Switch DPST, 3A @ 250VAC 12.7mm fixing hole |  | E |  | ELEC | SW | ROC
SW-BOX-305X231X140(GAEL) | Gael |  |  | Electric modular Switchgear Box with assorted components installed on the gear-plate suitable for AC or DC power distribution etc. | 5 | E |  | ELEC | SW | NA
S715 | Bulgin |  |  | Micro-Switch - 15 Amp Roller Operator Toggle SPDT 5~15A @ 250AC, | 200 | E |  | ELEC | SW | MICRO
H8550VBACA | Arcolectric | A11131121000 |  | Switch Rocker DPST, Black 10A @ 250VAC (marked 0/I) 19x13mm fixing hole for use with CASA module rear panels etc. |  | E |  | ELEC | SW | ROC
H8500VBAAF | Arcolectric | A11131121000 |  | Switch Rocker SPST, Black 10A @ 250VAC (marked 0/I) 19x13mm fixing hole for use with CASA module rear panels etc. |  | E |  | ELEC | SW | ROC
CK-7201-SYZQE | C&K |  |  | Switch Miniature Toggle DPDT 5A @ 28VDC, 2A @ 250AC, 1/4" 40tpi |  | E |  | ELEC | SW | TOG
A11631G0000 | Molveno | A11631G0000 |  | Switch Rocker SPST, Black/Red 10A @ 250VAC - with 230V NeonI, 19x13mm fixing hole for use with CASA module rear panels etc. |  | E |  | ELEC | SW | ROC
A11131121000 | Molveno | A11131121000 |  | Switch Rocker SPST, Black 10A @ 250VAC (marked 0/I) 19x13mm fixing hole for use with CASA module rear panels etc. |  | E |  | ELEC | SW | ROC
65-0200T-012-60 | Medeco |  |  | Key Switch with 2 keys - SPCO Key Removal/Insertion dual-state - 3/4" "DD" hole | 100 | E |  | ELEC | SW | KEY
34680E | Lucas |  |  | Key Switch, multimode (automotive) with 2 keys - 1 state Key Removal/Insertion - Park-OFF/REMOVE-ON-Start(spring-back) - 3/4" "D" hole | 18 | E |  | ELEC | SW | KEY
330-262 | Mercedes |  |  | Mercedes Ignition Key Switch key-lock with 2 keys for Unimog and similar etc. | 18 | E |  | ELEC | SW | KEY
T8X16-C-24VDC |  |  |  | Solenoid and Bracket Assembly, 24 V DC |  | E |  | ELEC | SOL | DC
SWITCH-1PC/O(MAGNETIC) |  |  |  | Magnet HOME position switch for SMCU home position identification - 24V DC | 2 | E |  | ELEC | SOL | DC
SOLENOID-AIR-1PC/O(24VDC) |  |  |  | Solenoid for Weld Ram air activation - 24V DC |  | E |  | ELEC | SOL | DC
OA-21C(SILVER) | SENTEX |  |  | Over Door Sensor for Business and industry or self opening doors | 15 | E |  | ELEC | SENS | SEC
OA-21C(BRONZE) | SENTEX |  |  | Over Door Sensor for Business and industry or self opening doors | 13 | E |  | ELEC | SENS | SEC
OA-21C(BLACK) | SENTEX |  |  | Over Door Active IR-Sensor for Business and industry or self opening doors - | 2 | E |  | ELEC | SENS | SEC
RELAY-3PC-O-36VDC-POT | AMF | KUP-14D-A5 |  | Relay, 3 pole C-O 5 Amp @ 240VAC/28VDC, 36VDC Coil, POT-Plug Base | 3 | E |  | ELEC | REL | 3PCO
RELAY-3PC-O-12VDC-POT | AMF | KUP-14D-A5 |  | Relay, 3 pole C-O 10 Amp @ 240VAC/28VDC, 12VDC Coil, POT-Plug Base | 3 | E |  | ELEC | REL | 3PCO
RELAY-3P-10A-400VAC(USED) | CEMEK | KUP-14D-A5 |  | Relay, 3 pole 10 Amp @ 400VAC Coil (used) | 1 | E |  | ELEC | REL | CONT
RELAY-2PC-O-28VDC-POT | AMF | CUH-41-31006? |  | Relay, 2 pole C-O 10 Amp @ 240VAC, 28VDC Coil, POT-Plug Base | 3 | E |  | ELEC | REL | 2PCO
RELAY-2PC-O-24VDC | AMF | CUH-41-31006? |  | Delay Relay, 2 pole C-O 10 Amp @ 120VAC, Delay 1~120 sec. 24VDC Coil | 3 | E |  | ELEC | REL | TIME
RELAY-2PC-O-12VDC-PCB | Fujikawa | 12ND12 |  | Relay, 2 pole C-O 2 Amp @ 30VDC or 0.5A @ 125V AC - DIL PCB | 3 | E |  | ELEC | REL | 3PCO
PMT17DY(USED) | Potter & Brumfield | KUP-14D-A5 |  | Relay, 4 pole C-O 24 Amp @ 240VAC, 20VDC Coil, Open Frame | 300 | E |  | ELEC | REL | 4PCO
LTI-1M-12 | Okita | LTI-1M-12 |  | Relay, 1? pole 12VDC SPST read-relay - DIL - x Watt or XXmA maximum switching current | 200 | E |  | ELEC | REL | 4PCO
JWS-117-1 | Potter & Brumfield | JWS-117-1 |  | Relay, 1 pole CSIP 5VDC SPST-NO - 10 Watt or 500mA maximum switching current | 40 | E |  | ELEC | REL | 4PCO
G6AK-274-ST-US | Omron | G6AK-274-ST-US |  | Relay, 2 pole C-O 5VDC PCB - 500mA maximum switching current @ 125Vac 0r 2A @30Vdcv R | 300 | E |  | ELEC | REL | 4PCO
DS2E-S-DC5V | AROMAT-NEC | DS2E-S-DC5V |  | Relay, 2 pole C-O 5VDC PCB - 600mA maximum switching current @ 125Vac 0r 2A @30Vdcv Resistive | 300 | E |  | ELEC | REL | 4PCO
AZ942-ICT-12DE | Zetler | AZ942-ICT-12DE |  | Relay, 1 pole C-O 12VDC PCB - 12A maximum switching current @ 227Vac or @28Vdcv Resistive | 11 | E |  | ELEC | REL | 1PCO
4PCO-24A@240VAC-20VDC(PB) | AMF-P&B | PMT17DY |  | Relay, 4 pole C-O 24 Amp @ 240VAC, 20~24VDC Coil, Push-On-Tags | 200 | E |  | ELEC | REL | 4PCO
2PCO-10A@28VDC-24VDC(POT) | Deltrol | 166D-DPDT |  | Relay, 2 pole C-O rated 10 Amp @ 28Vdc, 24Vdc Coil, 3/16" Push-On-Tags/Plug-In Deltrol Controlls 166D-DPDT | 3 | E |  | ELEC | REL | 2PCO
12ND12 | Fujitsu | FBR5-12ND12 |  | Relay, 2 pole C-O 12VDC PCB - 2A @ 30V maximum switching current - 300~500mA @ 125Vac Reststive | 300 | E |  | ELEC | REL | 4PCO
D2440-5 | OPTO-22 | D2440-5 |  | Solid State Relay, 240VAC 40 Amp (3~32VDC Control) | 3 | E |  | ELEC | REL | SSR | 1PNO
ACC-120S-24 | Govenors America Corp. | ACC-120S-24 |  | Electric Actuator 24VDC for Throttle and Injector control etc. | 4 | E |  | ELEC | SOL | ACT | NA
240D-3 | OPTO-22 | 240D-3 |  | Solid State Realay, 240VAC 3 Amp (3~32VDC Control) |  | E |  | ELEC | REL | SSR | 1PNO
PT75-80VDC | Master Instruments |  |  | Meter, 80V DC Moving Coil, 170mm x 110mm Square Plastic | 2 | E |  | ELEC | MET | VOLT
PT75-500ADC | Master Instruments |  |  | Meter, 500ADC (75mV FSD) Moving Coil, 170mm x 110mm Square Plastic with 500A 75mV Shunt | 1 | E |  | ELEC | MET | VOLT
ML52-300VAC | HC | ML52-AC300V |  | Panel-Meter, 300V AC Moving Iron, Class 2.5, 70 x 60mm rectalgular - 52mm hole- clear Plastic | 21 | E |  | ELEC | MET | VOLT
METER-VU(ILL) | BNT |  |  | Meter, "VU" small panel mounting | 3 | E |  | ELEC | MET | AMP
METER-30A-AC(USED) | BNT |  |  | Meter, 30 Amps FSD Moving Iron, 240V 50Hz, 2" square | 3 | E |  | ELEC | MET | AMP
METER-300V-MI(USED) | BNT |  |  | Meter, 300VAC Moving Iron, 4"x3" | 1 | E |  | ELEC | MET | AMP
METER-250V-AC(USED) | BNT |  |  | Meter, 250V FSD Moving Iron, 240V 50Hz, 3" square | 3 | E |  | ELEC | MET | VOLT
METER-20A-AC(USED) | BNT |  |  | Meter, 0~20 Amps FSD Moving Iron, 240V 50Hz, 3" square | 3 | E |  | ELEC | MET | AMP
METER-15A-AC | BNT |  |  | Meter, 15 Amps Moving Iron, 240V 50Hz, 6" dia | 3 | E |  | ELEC | MET | AMP
KD-45-300VAC | BNT |  |  | Meter, 300V AC Moving Iron, 45mm Square Clear Plastic | 1 | E |  | ELEC | MET | AMP
CMC-65P-100UADC | Carrel & Carrel |  |  | Meter, 100uA DC Moving Coil, 65mm Square Plastic | 21 | E |  | ELEC | MET | AMP
CM-1013 | CEM |  |  | Hour RUN Meter, 240V 50Hz, 0~999.9 Hours |  | E |  | ELEC | MET | HOUR
AC-200-72N-G7(USED) | Engler |  |  | Elapse Hour Time Meters 99,000h suitable for 230V 50Hz - 72 x 70 x 55.5mm (OD x D x ID) | 20 | E |  | ELEC | MET | HOUR
AC-200-70N-G7(USED) | Engler |  |  | Elapse Hour Time Meters 99,000.0h suitable for 230V 50Hz - 72 x 70 x 55.5mm (OD x D x ID) | 20 | E |  | ELEC | MET | HOUR
FLX-40SH(1)NH | ELBA |  |  | Flourescent Lamp ELECTRONIC Ballast F40/T12 40 Watt 4' 230V 50Hz 0.128A | 120 | E |  | ELEC | LAMP | BAL
LAMP-1490-3V2-0A16-MBC | General Electric | 1490 |  | MINIATURE BULB BA9S BASE - 3.20 Volt .16 Amp T3-1/4 Miniature Bayonet (BA9s) Base Lamp, 0.2 MSCP, C-2R Filament, 1.19" Max Length, 3000 hour rated | 500 | E |  | ELEC | LAMP | FLASH
FT-220 | General Electric |  |  | Lamp, FLASH Zenon, 5" Sealed Beam | 5 | E |  | ELEC | LAMP | FLASH
SWITCH-REMOTE-START |  |  |  | Remote Start switch for SMCU home position identification - 24V DC | 2 | E |  | ELEC | SW | DC
SWITCH-LAMP-OAK | OAK |  |  | Press-Switch with lamp/legend - 24V DC - T1-3/4 | 2 | E |  | ELEC | SW | DC
SWITCH-EMERGENCY-RESET | Telemechanique |  |  | Emergency STOP - Keyed/Lock Reset Re-Start switch in DyeCast box | 2 | E |  | ELEC | SW | DC
LEGEND-LAMP-OAK | OAK |  |  | Press-Switch with lamp/legend - xxV DC - T1-3/4 | 2 | E |  | ELEC | SW | DC
PTF/60 | Active |  |  | Fuse Holder PCB Fixing 20x5mm 6.3A @ 250VAC | 15 | E |  | ELEC | FUSE | HOLD
L562-250MA | Belling-Lee/Bulgin/etc. |  |  | Fuse Cartridge - 250mA 5/8" x 3/16" dia - glass size "OO" | 550 | E |  | ELEC | FUSE | FUSE
L5211-3 | Belling-Lee | AL5211LY |  | Circuit-Breaker Thermo-Magnetic 3 amp with remote switching - Panel Fixing 3A @ 250VAC | 50 | E |  | ELEC | CB | CB
L5211-1 | Belling-Lee | AL5211-DV |  | Circuit-Breaker Thermo-Magnetic 1 amp with remote switching - Panel Fixing 1A @ 250VAC | 10 | E |  | ELEC | CB | CB
L1596(OO) | Belling-Lee |  |  | Fuse Holder Panel Fixing for size "OO" 7A @ 250VAC | 50 | E |  | ELEC | FUSE
L1472B-5A | Active |  |  | Fuse Slow Blow 20x5mm 5A @ 250VAC |  | E |  | ELEC | FUSE
L1382 | Belling-Lee |  |  | Fuse Holder Sealed Panel Fixing 1.25x6.35" 7~15A @ 250VAC | 50 | E |  | ELEC | FUSE | HOLD
L1348C | Belling-Lee |  |  | Fuse Holder Panel Fixing 1.25x6.35" 7~15A @ 250VAC | 50 | E |  | ELEC | FUSE | HOLD
FH-63 | Active |  |  | Fuse Holder Panel Fixing 1.25x6.35" 15A @ 250VAC |  | E |  | ELEC | FUSE
FH-20X5-P12.7(PTF/30) | Active |  |  | Fuse Holder Panel Fixing 20x5mm 12.7mm Fixing 6.3A @ 250VAC (with anti-rotation tab suitable for CASA's mack module punching) |  | E |  | ELEC | FUSE
ATX3?-20A(HRC) | AEI |  |  | Fuse Cartridge 20A HRC @ 440VAC - AEI | 40 | E |  | ELEC | FUSE | HRC
1A250V-20X5(STD) | Active |  |  | Fuse 20x5mm 1A @ 250VAC - standard blow |  | E |  | ELEC | FUSE
12A32V-AGC-25X6.4(FAST) | Bussmann | . |  | AGC-12 Fast-Acting Fuse 12A 32V Bussmann AGC - 1.25x0.25" Glass Tube | 10 | E |  | ELEC | FUSE
12A32V-313-3AG-25X6.4(SB) | LittleFuse | . |  | 3AG-12 SLOW-BLOW Fuse 12A 32V LittleFuse 313 or Bussmann 3AG - 1.25x0.25" Glass Tube | 50 | E |  | ELEC | FUSE
129-L11-H-KF-12A | ETA |  |  | Circuit-Breaker Thermal 12 amp with trip-reset - Panel Fixing 12A @ 28Vdc | 49 | E |  | ELEC | CB | CB
129-L11-H-KF-10A | ETA |  |  | Circuit-Breaker Thermal 10 amp with trip-reset - Panel Fixing 10A @ 28Vdc |  | E |  | ELEC | CB | CB
129-83-P10(BKT) | ETA |  |  | Bracket for mounting ETA series 129 miniature circuit breakers |  | E |  | ELEC | FUSE | CB
10A-1P-C-IEC898-DIN(PRO) | PRO-SERIES | 11575 |  | Circuit-Breaker Thermal 1 pole "C" curve 10 amp to AS/NZS-4898 DIN rail fixing 6kA rupturing capacity 240/415Vac 10A @ 60Vdc? | 10 | E |  | ELEC | CB | X? | 1PNO
ESI28-1132-100 |  |  |  | Rotary incremental encoder 100 ppr 6000prm single output 5VDC Open Collector output | 1 | E |  | ELEC | SENS | ENCOD
25G-2000-IDZ-MID-2/S |  |  |  | Rotary encoder 2000 ppr s/nG1882 (has some bearing noise) | 1 | E |  | ELEC | SENS | ENCOD
Y20878 | Belling Lee |  |  | Mains Filter, 1 Amp 1 Phase (2 line) 240VAC 50~60Hz | 1 | E |  | ELEC | SUP
Y20860 | Belling Lee |  |  | Mains Filter, 20 Amp 1 Phase (2 line) 240VAC 50~60Hz | 1 | E |  | ELEC | SUP
SF-30F | Plessey |  |  | Mains Filter, 30 Amp 1 Phase (2 line) 250VAC 50~60Hz | 3 | E |  | ELEC | SUP
RG-208 | Tokin |  |  | Mains Filter, 8 Amp 2 Pole (2 line) 250VAC 50/60Hz Cylinderical Stud fixing | 1 | E |  | ELEC | SUP
NF-10679-32 | Plessey |  |  | Mains Filter, 15 Amp 3 Phase (4 line) 600VDC, 250VAC 60Hz | 3 | E |  | ELEC | SUP
L1857(USED) | Belling Lee |  |  | Mains Filter, 30 Amp 1 Phase (2 line) 250VAC 50~60Hz | 1 | E |  | ELEC | SUP
JN17-4294A | Sprague |  |  | Mains Filter, 10 Amp 3 Phase (4 line) 440VAC 0~60Hz (with glass hermetic terminals) | 1 | E |  | ELEC | SUP
F-2979 | Corecom |  |  | Mains Filter, 20 Amp 1 Phase (2 line) 240VAC 50~60Hz | 1 | E |  | ELEC | SUP
F-20062(2X1.5A) | Plessey |  |  | Mains Filter, 1.5 Amp 2 Pole (2 line) 600VDC (250VAC 50/60Hz) | 9 | E |  | ELEC | SUP
EMI-15A-1P | Bouroughs |  |  | Mains Filter, 15 Amp 1 Phase Torroid (1 line) | 3 | E |  | ELEC | SUP
B84108-K901 | Siemens |  |  | Mains Filter, 3 Amp 1 Phase (2 line) 115/250VAC 50~60Hz111111 | 3 | E |  | ELEC | SUP
A-2129 | Plessey |  |  | Mains Filter, 20 Amp 1 Phase (2 line) 250VAC 0~60Hz | 3 | E |  | ELEC | SUP
5004-5986(USED) | Potter |  |  | EMI/RFI Coaxial Filter, 20 Amp 1 Pole 250V ac Ind. 30uH (series) + Cap. 1.35uF (shunt) used/recovered/spares | 10 | E |  | ELEC | SUP
43-8446(2X1A) | POTTER |  |  | Mains Filter, 1 Amp 2 Pole + Earth EIA (2 line) 250VAC 50/60Hz - inductive 2 x 1mH PI filter 1 x 0.0025uF "Y" + 2 x 0.0082 'X" (NEW) | 100 | E |  | ELEC | SUP | EIA
412/1/01176/000 | Plessey |  |  | Mains Filter, 10 Amp 3 Phase (4 line) 415VAC 49~61Hz | 3 | E |  | ELEC | SUP
263 | Q-Inductance |  |  | Mains Filter, 6 Amp 2 Pole (2 line) 230VAC 49~61Hz | 100 | E |  | ELEC | SUP
PR-11DYO | AMF | PR-11DYO |  | Relay 2 pole C/O, 25A @ 240VAC, 24VDC Coil (open frame) | 48 | E |  | ELEC | REL | OF | 2PCO
UPL1-281-19 | Airpax |  |  | Circuit Breaker 10 Amp, Single Ple 250V 50/60Hz, Panel Fixing |  | E |  | ELEC | CB | TM
CR2032 |  | CR2032 |  | 3V Lithium Battery, 220mAH, Coin-Cell 20x3.2mm |  | E |  | ELEC | BATT | LI | NA
GP910A |  | GP910A |  | 1.5V Alkaline Battery, Size N |  | E |  | ELEC | BATT | ALK | NA
BT-161 |  | BT-161 |  | NiCd Battery pack 3.6V @ 270mAh for Uniden XCA650/750 Integrated Digital Telephone 7 Answer machine |  | E |  | ELEC | BATT | NICD | NA
PDL-144 |  |  |  | Flush Box, Plastic for electrical wiring | 100 | E |  | ELEC | ACC | ACC
PDL-144 |  |  |  | Flush Box, Plastic for electrical wiring | 100 | E |  | ELEC | ACC | ACC
T400(TOLEDO) | Toledo |  |  | Toledo T400 Output: 1mV/V at 400 micro-inches/inch Strain: 600 micro-inches/inch Excitation Voltage: 10~15Vdc (or ac) with 2~3m cable and Lemo 4 pin | 1 | E |  | ELEC | SENS | LOAD
RI58-D/1000ED(HENGSTLER) | HENGSTLER | 0-532-290 |  | Incremental encoder 1000 line - for 12mm dia thru-shaft - model 0-532-290.37KB 10~30 Vdc with 6 core 1.5m screened cable. | 1 | E |  | ELEC | SENS | ENCOD
L1472B-2A | Active | L1472B-2A |  | Fuse Slow Blow 20x 5mm 2A @ 250VAC |  | E |  | ELEC | FUSE | X? | X?
L1055-3A | Belling-Lee/Bulgin/etc. |  |  | Fuse Cartridge - 3A 1-1/4 x 1/4" dia - glass size "O" | 100 | E |  | ELEC | FUSE | FUSE
NP10-6(YAUSA) | Yausa | NP10-6 |  | 6V dc 10Ah Seal lead acid rechargable - 151 x 93 x 50mm with 3/16" QC tags | 3 | E |  | ELEC | BATT | SLA | NA
MU45-1MA(200R) | NA |  |  | Meter, "0~1mA" 58.4mm x 52.0 45mm hole/barrel small panel mounting |  | E |  | ELEC | MET | AMP
MU45-30VDC(30K0) | NA |  |  | Meter, "0~30Vdc" 58.4mm x 52.0 45mm hole/barrel small panel mounting |  | E |  | ELEC | MET | AMP
MR31-24D(NEC) | NEC | MR31-24D |  | Relay, 1 pole C-O 24VDC PCB - 12A? maximum switching current @ 227?Vac or @28Vdcv Resistive | 198 | E |  | ELEC | REL | PCB | 1PCO
C113-TYPE-J(INTECH) | Imtech | 4536853249892.00 |  | Thermocouple "Type-J" Stainless Probes with 3.5m braided cable + universal 1/8BSP SS310 bayonet-pocket / adaptor | 7 | E |  | ELEC | SENS | THERM
PD13(FESTO) | FESTO | 150-855 |  | Proximity Reed-Switch Sensor with 2m cable | 1 | E |  | ELEC | SENS | PROX
SMEO-1(FESTO) | FESTO | 11880 |  | Proximity Sensor with 2m cable - 2A 220V 40W | 1 | E |  | ELEC | SENS | PROX
E2E-X3D1-N(OMRON) | Omron | 4536853249892 |  | Proximity Sensors - Inductive 12~24Vdc 3mm gap with fixed 2.5m 2-wire cable and M12 panel-fixing hardware | 3 | E |  | ELEC | SENS | PROX
PIEZO-85DB-8~16VDC(AB3462) | NA | Soanar-AB3462 |  | Piezo Sounder. 85~90dB, 8-16V (15mA @12V nominal) 3300Hz, 22.5mm dia x 11mm high (plus 2 fixing lugs with 2.5mm fixing holes @ 30mmC~C 35mm overall. | 79 | E |  | ELEC | SND | PIEZO
3PCO-10A@240VAC-24VDC(POT) | Potter & Brumfield | KU4600-KUP14DE5 |  | Relay, 3 pole C-O rated 10 Amp @ 240Vac, 24Vdc Coil, 3/16" Push-On-Tags/Plug-In KU4600-KUP14DE5 | 3 | E |  | ELEC | REL | SKT | 2PCO
3PCO-10A250VAC-7702K3 | Cutler-Hamer | 7702K3 |  | Toggle Switch 3PDT, 10A @ 250VAC 15/32" (11.9mm) fixing hole |  | E |  | ELEC | SW | TOG
2PCO-3A-250VAC-7593K8 | Cutler-Hamer | 7593K8 |  | Toggle Switch 2PDT, 3A @ 250VAC 15/32" (11.9mm) fixing hole |  | E |  | ELEC | SW | TOG | 2PCO
2PCO-CO-3A-250VAC-7801K12 | Cutler-Hamer | 7801K12 |  | Toggle Switch CENTRE-OFF 2PDT, 3A @ 250VAC 15/32" (11.9mm) fixing hole | 334 | E |  | ELEC | SW | TOG | 2PCO
2AB004-532-161 | Hella |  |  | 12 Volt map reading lamp ideal for the car or boat complete with holder for pendant mounting | 3 | E |  | ELEC | LAMP | FLEX
TQ65Y50ZND2CR-S003 | LIKA |  |  | Incremental encoder 1000? line - 8mm dia shaft - model TQ65-Y-50ZND2CR/S003 with 7 pole MS Panel-Plug + matching cord jack (MS3102?) | 1 | E |  | ELEC | SENS | ENCOD
GLV12-8-200/37/40B/115 | Pepperl + Fuchs | 84776 |  | Proximity sensor, adjustable sensing, up to 200mm, IP67, M12, pre wired, PNP | 1 | E |  | ELEC | SENS | PROX
SLG23CEEAKOA | ifm - efector | 84776 |  | Air flow monitor/sensor-head, IP653a/250Vac | 1 | E |  | ELEC | SENS | PROX
200A-500V-AC5-SB-MEM-REF | MEM | 200A-AC5 |  | Fuseholder, REFURBISHED, panel mounting top~bottom cable entry for HRC fuses | 3 | E |  | ELEC | FUSE | HOLD | HRC
2PCO-2A-9VDC-110R-SKT-V23154-C0715 | Siemens | V23154-C0715-B104 |  | 2 Pole Change Over Socket 2 Amp 9 Volts DC 110 Ohm V23154-C0715-B104 Siemens | 575 | E | ELEC/REL/SKT/640/ | ELEC | REL | SKT | 2PCO
2PCO-5A-24VDC-PCB-FBR621D024-FUJI | Fujitsu | FBR621D024 |  | 2 Pole Change Over Printed Circuit Board FBR621D024 Fujitsu | 155 |  |  | ELEC | REL | PCB | 2PCO
10P-DIP-PCB-110LT-EDG | EDG | 2438-127-00011 |  | 10 pole ST | 1022 | E |  | ELEC | SW | PCB | 10P
1PNO-25A-32VD-240VA-SSR-240D25-OPTO | Opto-22 | 240D25 |  | Relay, Solid-State relays, 1 Pole Mormally Open, 25 Amp contact, 24Vdc coil, Not Applicable, Encapsulated, 240D25, Opto-22 | 11 | E |  | ELEC | REL | SSR | 1PNO
1PNO-45A-32VD-240VA-SSR-240D45-RE | Opto-22 | 240D45 |  | Relay, Solid-State relays, 1 Pole normally Open, 25 Amp contact, 3~32Vdc control, , Encapsulated, 240D25, Opto-22 - REFURBISHED | 65 | E |  | ELEC | REL | SSR | 1PNO