14

Burst	: according to TV-system

- Number of periods	: 10

- Burst phase	: 135° and 225°

Amplitude	: burst and chroma amplitude continuously adjustable from 0 - 100 % or fixed position at 100 %

- Attenuation	: > 40 dB

- Difference between even- and odd lines	: ±3

1.2.7. Power supply

Mains voltage	: 115 V or 230 V ± 15

Mains frequency	: 48 - 60 Hz

Power consumption	: 17 Watt

1.2.8. Environmental conditions

Reference temperature	: 23 °C

Normal operating temperature	: +5 to +40 °C

Temperature range for transport and

storage	: -40 to +70 °C

This instrument conforms to VDE 0411 class I protection standard.

1.2.9. Dimensions (over all)

Height	: 195 mm