2. SPECIFICATIONS

2.1 Specifications

Measuring system	Prescaler, direct reading display system

Frequency measurement (Input)

Measuring range	10 Hz - 500 MHz

Gate time	4 mS, 40 mS, 0.4 S, 4 S

Accuracy	1 - ± internal time t

f .G

accuracy If: measured freq. 0: Gate time),

Read in	kHz, MHz

Decimal point automatically, gate time switched.

Mine read in frequency

1 kHz, 100 Hz, 10 Hz, 1 Hz

Signal input	Front panel BNC connector Base

Internal time base fre- 1 MHz quency

Frequency stability	3 x 10 -9 day (constant am b: U1 t '-On E, after 48 hours of continue

Time base adjustment	Rear panel adjustment Adjustable range: 5x 08