if-check	The time base circuit, cou

circuit, and various gates

checked at a count (gate)

0-4 S and 1 MHz internal t Operating temperature range 0°C - +400C

Storage temperature range	-20°C - +700C Power supply

Voltage	220 VAC, ±101, 50/60 Hz Can be modified for 100, 1 (optional)

Power	Approx. 65 VA

Insulation resistance	Between one AC input term. Greater than 50 M-Ohm (100 VD

Dimensions	Approx. 250 (wide	t, ) x 149

345 (deep) mm

'Does not include stand, r at the rear panel, and fri cover)

Front panel cover	Approx. 250 (wide) x ?i (deep) mm

2.2 Components

The -TR-3788C consists of the f 1) --TR-3788C Frequency COUNTER 2) AC power cord

4

g components: