1. DESCRIPTION

1.1 General

This instruction manual covers the specifications, operating procedure, theory, and maintenance of the -TR-3788C FREQUENCY COUNTERS

K DESCRIPTION	A description of the counter and its features.

2. SPECIFICATIONS	A detailed description of the counter's functions and specifications.

3. OPERATING PROCEDURE Preparation and precautions prior o operating the counter, panel description (with the aid of illustrations), associated equipment and their connection, and operating procedures

4. THEORY OF OPERATION Principles of construction centered around block diagrams, theory of basic circuits, etc. (with the aid of diagrams).

5. MAINTENANCE AND	instruments necessary for maintenance an

INSPECTION spection and troubleshooting procedures malfunctions should occur. The circuit

grams and parts list at the end of this section should be referred to during troubleshooting, maintenance, and inspection.

The -TR-3788C FREQUENCY COUNTER is c

transistorized,

and_ lightweight frequency counting

I

-nt capable

frequency