## Catalogued Items
Category | Description | Brand | Model | URL | Serial Num | Notes
Meter | Distortion and noise meter | AWA | F242A |  | 2A70542
Function Generator | Function Generator | BK Precision | 3010 | https://www.valuetronics.com/product/3010-bk-precision-function-generator-used | 87-21216 | 0.1 Hz to 1 MHz in six ranges
Function Generator | Function Generator | BK Precision | 3010 |  | 87-21570 | https://www.bkprecision.com/support/downloads/manuals/en.html
Function Generator | Sweep Function Generator 2MHz | BK Precision | 3022 | https://www.ebay.com/itm/BK-PRECISION-3022-2MHz-Sweep-Function-Generator-/202179381098 | 212-00464 | no manual on-line
Communications | Stereo Satellite Receiver | Chaparral | Monterey20 |  | M203906
Analyser | Audio Analyser | Dawe | 1461A |  | 1346 | https://picclick.co.uk/DAWE-AF-Analyser-Type-1461a-Ser-2327-Made-223224551902.html
Oscilloscope | Analog Oscilloscope 20MHz | Dick Smith | PS-200 |  | 05085426 | https://www.grays.com/lot/0991-3002105/office-furniture-and-equipment/dick-smith-ps-200-oscilloscope
Oscilloscope | Analog Oscilloscope 20MHz | Dick Smith | PS-200 |  | 10042311
Audio Visual | DVD Player | DSE | G1928 |  | A17-0603002843
Counter | 1.3GHz Multifunction Counter | Escort | EFC-3203 |  | 20922068 | http://www.a0101.com/en/pro/EFC-3203A.html
Function Generator | AM/FM Function Generator | Exact | 519 |  | 0320
Function Generator | AM/FM Function Generator | Exact | 519 |  | 25053
Function Generator | AM/FM Function Generator | Exact | 119M |  | 25554
Function Generator | AM/FM Function Generator | Exact | 119M |  | 25556
Function Generator | Sweep Function Generator | Feedback | SFG611 |  | 611/5/67
Analyser | Transfer Function Analyser | Feedback | TFA607 |  | 607/3/4
Function Generator | Function Generator | Feedback | TWG 501 |  | 501/23/41
Analyser | Hermetic Unit & Analyser | Gould | A-12
Signal Generator | Signal Generator | Gould | J3B |  | 1044
Signal Generator | Signal Generator | Gould | J3B |  | 414 | Failed Test & Tag
Audio Visual | AM/FM Stereo Tuner | Hitachi | FT-3400 |  | 735390
Attenuator | RF Attenuator x 4 | HP | 11507A |  |  | Goes with HP 608E
Spectrum Analyser | Modular Spectrum Analyser | HP | 141T |  | 2233A22771 | Has 3 input modules
Meter | Digital Multimeter | HP | 3465A |  | 1521A01174
Analyser | Signature Analyser | HP | 5006A |  | 2314A00704
Analyser | Signature Analyser | HP | 5006A |  | 2314A00726
Counter | Electronic Counter | HP | 5245L |  | 544-08009
Counter | High Frequency Converter | HP | 5255A |  | 544-08009 | Installed in 5245L
Counter | Universal Counter | HP | 5314A |  | 2036A09068
Counter | Universal Counter | HP | 5314A |  | 2036A09074
Signal Generator | VHF Signal Generator | HP | 608E |  | 826-01284
Spectrum Analyser | Spectrum Analyser Input Module RF Section | HP | 8552B |  | 2326A21660 | Goes with 141T
Spectrum Analyser | Spectrum Analyser Input Module RF Section | HP | 8555A |  | 1831A09154 | Installed in 141T
Spectrum Analyser | Spectrum Analyser Input Module RF Section | HP | 8556A |  | 2148A05237 | Installed in 141T
Oscilloscope | Analog Oscilloscope 30MHz | Iwatsu | SS-5706 |  | 71121329
Oscilloscope | Analog Oscilloscope 30MHz | Iwatsu | SS-5706 |  | 71121349
Oscilloscope | Analog Oscilloscope 60MHz | Iwatsu | SS-5710 |  | 61125680
Oscilloscope | Analog Oscilloscope 60MHz | Iwatsu | SS-5710 |  | 61235933
Oscilloscope | Analog Oscilloscope 60MHz | Iwatsu | SS-5710 |  | 71238860
Oscilloscope | Analog Oscilloscope 60MHz | Iwatsu | SS-5710 |  | 71238877
Oscilloscope | Oscilloscope and Digital Multimeter | Iwatsu | SS-57100 |  | 61125718
Oscilloscope | Oscilloscope and Digital Multimeter | Iwatsu | SS-57100 |  | 61456425
Oscilloscope | Oscilloscope and Digital Multimeter | Iwatsu | SS-57100 |  | 61456578
Function Generator | Function Generator | King Instrument Electronics | FG-2512F
Oscillator | AM/FM/Phase Lock Generator | Krohn-Hite | 2400 |  | 201A
Oscillator | AM/FM/Phase Lock Generator | Krohn-Hite | 2400 |  | 275
Signal Generator | Signal Generator | Leader | 17A |  | 0060958
Analyser | Audio Tester | Leader | LAV-191 |  | 6070013
Meter | Distortion Meter | Leader | LDM-171 |  | 5030313
Signal Generator | RF Signal Generator | Marconi | 52018-900F |  | 118440/100
Oscillator | Signal Source 8.0 - 12.5 GHz | Marconi | 6058B |  | 815
Signal Generator | Microwave Signal Source 8-12 GHz | Marconi | 6158A |  | 167
Meter | VSWR Indicator | Marconi | 6593A |  | 1549
Meter | VSWR Indicator | Marconi | 6593A |  | 1587
Meter | AF Power Meter | Marconi | 893B |  | 190149/029
Meter | AF Power Meter | Marconi | TF 893A |  | 52472/172
Meter | RF Power Meter | Marconi | TF1152A |  | 56360/43
Signal Generator | AM / FM Signal Generator | Marconi | TF2016 |  | 118004/046
Signal Generator | AM / FM Signal Generator | Marconi | TF2016 |  | 118010/070
Signal Generator | AM / FM Signal Generator | Marconi | TF2016 |  | 118040/047
Signal Generator | AM / FM Signal Generator | Marconi | TF2016 |  | 118040/049
Attenuator | MF Attenuator | Marconi | TF2162 |  | 52614/047
Attenuator | MF Attenuator | Marconi | TF2162 |  | 52614/078
Signal Generator | Digital Synchroniser | Marconi | TF2173 |  | 118113/006 | Goes with TF2016
Meter | Output Power Meter | Marconi | TF893 |  | JA16/125
Communications | Digital Microwave Radio | MAS | DXR100 |  | 0050014653
Communications | Digital Microwave Radio | MAS | DXR100 |  | 0050014655
Meter | Earth Tester | Megger | 63220 | https://www.ebay.com/itm/Biddle-Megger-63220-0-01-to-9-990-Ohms-4-Ranges-Earth-Tester-Tested-Manual-/232863111834 | 1642825 | 0.01 to 10k Ohms
Meter | Earth Tester | Megger | 63220 |  | 2114817 | 0.01 to 10k Ohms
Function Generator | AM/FM Sweep / Trigger / Pulse / Function Generator | Newtronics | 200MSTPC |  | 3751
Meter | AC millivoltmeter | Philips | PM2554 |  | DY 4152
Meter | AC millivoltmeter | Philips | PM2554 |  | DY 5432
Meter | AC millivoltmeter | Philips | PM2554 |  | DY0005431
Meter | AC millivoltmeter | Philips | PM2554 |  | DY0005436
Meter | AC millivoltmeter | Philips | PM2554 |  | DY0005437
Signal Generator | Low Distortion LF Generator 100kHz | Philips | PM5107 |  | LO-616
Function Generator | RC Generator | Philips | PM5109 |  | LO-05 1233
Function Generator | RC Generator | Philips | PM5109 |  | LO-06 1286
Function Generator | RC Generator | Philips | PM5109 |  | LO-06 1287
Function Generator | RC Generator | Philips | PM5109 |  | LO-06 1289
Function Generator | RC Generator | Philips | PM5109 |  | LO-06 1290
Function Generator | RC Generator | Philips | PM5109 |  | LO-06 1292
Function Generator | RC Generator | Philips | PM5109 |  | LO-06 1293
Function Generator | RC Generator | Philips | PM5109 |  | LO-06 1294
Function Generator | RC Generator | Philips | PM5109 |  | LO-07 1395
Function Generator | RC Generator | Philips | PM5109 |  | LO-07 1411
Function Generator | Function Generator 2MHz | Philips | PM5131 |  | LO-06 2923
Function Generator | Function Generator 2MHz | Philips | PM5131 |  | LO-06 2929
Signal Generator | RF Signal Generator | Philips | PM5326 |  | LO-04 2585 | Mains plug removed
Signal Generator | Colour TV Pattern Generator | Philips | PM5515-T |  | 401210124891
Audio Visual | Video Line Selector | Philips | PM8917 |  | 944408917000
Spectrum Analyser | Spectrum Analyser 1GHz with Satellite Band Converter | Promax | AE-566 |  | 155
Signal Generator | Colour TV Pattern Generator | Promax | GV-298 |  | 12010039
Meter | Digital Bench Multimeter | Racal-Dana | 4002 |  | 28623 | Faulty
Meter | Modulation Meter | Racal-Dana | 9008 |  | 4917
Meter | RF Millivoltmeter | Racal-Dana | 9302 |  | 5128
Meter | RF Millivoltmeter | Racal-Dana | 9302 |  | 5134
Counter | Universal Counter Timer | Racal-Dana | 9902 |  | 1586
Meter | Modulation Meter | Racal-Dana | 9008A |  | 5971
Educational Demo | Microwave Educational Test Bench | Sanders | 599 |  | 65
Analyser | Tracking Scope | Takeda Riken | TR4110 |  | 49970044
Analyser | DC Range Unit | Takeda Riken | TR-6011
Analyser | True RMS AC Range Unit | Takeda Riken | TR-6047 |  | 0174006
Oscilloscope | Oscilloscope 2Ch 50MHz | Tektronix | TAS250 |  | MY14151 | Missing knobs
Oscilloscope | Oscilloscope 2Ch 50MHz | Tektronix | TAS250 |  | MY14153 | Missing knobs
Oscilloscope | Oscilloscope 2Ch 50MHz | Tektronix | TAS250 |  | MY14160 | Missing knobs
Oscilloscope | Oscilloscope 2Ch 50MHz | Tektronix | TAS250 |  | MY14172 | Missing knobs
Oscilloscope | Oscilloscope 2Ch 50MHz | Tektronix | TAS250 |  | MY14174 | Missing knobs
Oscilloscope | Oscilloscope 2Ch 50MHz | Tektronix | TAS250 |  | MY14176 | Missing knobs
Oscilloscope | Oscilloscope 2Ch 50MHz | Tektronix | TAS250 |  | MY14177 | Not Triggering
Oscilloscope | Oscilloscope 2Ch 50MHz | Tektronix | TAS250 |  | MY14178 | Missing knobs
Oscilloscope | Oscilloscope 2Ch 10MHz | Telequipment | D54 |  | 423669
Communications | Transceiver & Power Supply | Ten-Tec | 544 & 252G |  | 544-1014
Multiplexer | Oscilloscope Multiplexer | Thurlby | OM358 |  | M0474
Multiplexer | Oscilloscope Multiplexer | Thurlby | OM358 |  | M0475
Multiplexer | Oscilloscope Multiplexer | Thurlby | OM358 |  | M0972
Function Generator | Function Generator | Topward | TFG-462
Meter | AC Voltmeter | Topward | TMV-380 |  | 814164
Oscilloscope | Oscilloscope 2Ch 20MHz | Trio | CS-1022
Oscilloscope | Oscilloscope 2Ch 20MHz | Trio | CS-1566A |  | 2080086
Oscilloscope | Analog Oscilloscope 70MHz | Trio | CS-2075 |  | 5010073
Meter | Audio Solid State Voltmeter | Trio | VT-106 |  | 430492
Meter | Audio Solid State Voltmeter 2 Channel | Trio | VT-150 |  | 440200
Meter | Audio Solid State Voltmeter 2 Channel | Trio | VT-150 |  | 850227
Meter | AC Voltmeter | Trio | VT-155 |  | 1120086
Meter | Noise Meter | Trio | VT-126 |  | 1110015
Communications | Panoramic TV Field Strength Meter | UNAOHM | EP730BFM |  | 679
Analyser | Data Circuit Test Set | Wandel Goltermann | DLM-1 |  | 491962C
Signal Generator | Signal Generator 0.3 - 612KHz | Wandel Goltermann | PS-3 |  | 456959U
Meter | Selective Level Meter 612kHz | Wandel Goltermann | SPM-3 |  | 462089Y
Oscillator | Programmable Microwave Sweep Generator | Wiltron | 6659B |  | 950003
Meter | AC/DC Converter (Precision Rectifier) | Yew | 3142 |  | 00243
Communications | Freeview Receiver | Zinwell | ZNT-620HD |  | 8803255
`